Additional considerations for T18

Synchronization Function

- Make sure Windows Media Device Center (WMDC) has been already installed in PC, formerly active sync for Windows XP. If not, please download from this link below and install it.

https://www.microsoft.com/en-US/download/details.aspx?id=3182

- Choose ‘Enable advanced network functionality’ by clicking Setting->Connections->USB to PC.

- Connect T18 to a PC with USB cable.

- PC will search an appropriate driver for T18 and install automatically. A similar device will be shown in Device Manager

- The  icon will appear in the tool bar of PC then Active Sync/WMDC will launch as follows,

- If WMDC doesn’t connect, follow the steps below to check its driver first.

- Check whether a suitable driver of T18 has been installed or not by PC Device Manger. If not, unrecognized device will be present in ‘Device Manager’

- Click on the ‘unrecognized device’，choose ‘update driver software’，then click ‘Let me pick from a list of device drivers……’ on the Dialog box.

- Choose ‘Network adapter’ as the figures shows,

- Choose ‘Microsoft Windows Mobile Remote Adapter’ , click Next as below,

- The driver will be installed successfully.  A RNDIS device like below figure will be shown in PC Device Manger

- If the above RNDIS device has been already shown in Device Manager, WMDC doesn’t launch successfully yet, especially for Win10 operating system. Please run a utility called “HWSyncTools.exe” provided by vendor.

USD Mass storage function

- Put a SD card into T18

- Select ‘Start->Settings->System->’, click ‘USB to PC’

- Choose the module of ‘Disk Driver’ mode, click  return back

- Remove the USB cable and plug it in again. T18’s SD card can be used as a U-Disk.

LED indicator

| Operation | Power off | Screen off | Charging | Full of charge | Using |
| --- | --- | --- | --- | --- | --- |
| Light Status | Off | Blue light on | Red light on | Off | Off |

Upgrading OS

a) Users upgrading

i) Copy image files to a SD card.

ii) Put this SD card into T18

iii) Install battery and lock the battery cover off.

iv) Press the button F3 and Power at the same time for several seconds.

v) Upgrading will be start automatically.

b) Factory upgrading

i) Copy image files to a SD card.

ii) Put this SD card into T18

iii) Install battery and lock the battery cover off.

iv) Press the button HOME and POWER at the same time for several seconds.

v) Upgrading will be start automatically.

Notes:

This upgrading method can be used when T18 power-fail.

TF’s compatibility requirements is higher than User upgrading.